## Slide 1: Nuclear Power: Reviewing the Science, Technology and Policy
James D. Myers
Director, Wyoming CCS Technology Institute
Professor, Department of Geology & Geophysics
University of Wyoming

## Slide 2: A Quick Look at Nuclear Power U.S. Electricity Sector - Nuclear
nuclear power is major player in U.S. electricity industry
  19. 4 % of electricity
third major source behind:
  coal: 46.6 %
  natural gas: 21.5 %
characteristics:
  despite no new plants since 1970s, percentage of electricity it produces has been growing
  many plants being re-licensed for another 20-30 years
  U.S. safety record has been stellar
    no fatalities, no injuries

## Slide 3: A Quick Look at Nuclear Power U.S. Electricity Sector

## Slide 4: A Quick Look at Nuclear Power Global Electricity Sector

## Slide 5: A Quick Look at Nuclear Power Global Electricity Sector

## Slide 6: A Quick Look at Nuclear Power Global Electricity Sector

## Slide 7: A Quick Look at Nuclear Power Global Electricity Sector
61 new reactors (NEI, 2010)
Taiwan – 2; Iran -1; Pakistan -1

## Slide 8: Nuclear Physics Fundamental Forces

## Slide 9: Nuclear Physics Balancing Nuclear Forces

## Slide 10: Nuclear Physics Binding Curve

## Slide 11: Nuclear Physics Nuclear Transformations
the nuclear structure of atoms is changed by three different mechanisms:
  fission: splitting of heavy nuclei into two lighter ones with the releases of neutrons and energy
    spontaneous
    neutron-induced
  fusion: combining of two nuclei to make a new, heavier nuclei
    new nuclei has less mass than sum of two original nuclei
  radioactive decay: spontaneous emission of either particle or electromagnetic radiation by nuclei
    particle: alpha, beta, electron capture
    electromagnetic: gamma
these processes are not influenced by physical conditions, e.g. pressure, temperature, etc.

## Slide 12: Nuclear Physics Nuclear Transformations & Binding Curve

## Slide 13: Nuclear Physics Particle Radiation: Radioactive Decay

## Slide 14: Nuclear Physics Electromagnetic Radiation: Gamma Radiation

## Slide 15: Nuclear Physics Periodic Table: Nuclear Help?

## Slide 16: Nuclear Physics Nuclide Chart

## Slide 17: Nuclear Physics Nuclide Chart
Notes: The nuclide shows the 254 naturally-occurring stable isotopes (black) that form the stable band. In addition, there are another about 46 radioactive isotopes with relatively long lives. In all the, nuclide chart depicts the 3,000 or so known isotopes. Of these the vast majority are human produced with very short half-lifes.

## Slide 18: Nuclear Physics Nuclide Chart: Decay Mechanisms

## Slide 19: Nuclear Physics Nuclide Chart: Stability Regions & Decay Mechanisms

## Slide 20: Nuclear Physics Fission: Neutron Capture

## Slide 21: Nuclear Physics Fission: Liquid Drop Model

## Slide 22: Nuclear Physics Fission: Fission Product Yield

## Slide 23: Nuclear Physics Fission: Fission Products
Notes: Lise Meitner and Otto Frisch

## Slide 24: Nuclear Physics Fissile vs. Fertile Isotopes
fissile: isotopes that can sustain a chain reaction through fissions induced by thermal neutrons
  235U: naturally-occurring
    0.7 % of natural U
  233U: not naturally-occurring
  239Pu : not naturally-occurring
fertile: isotope that can be converted to fissile isotope by neutron capture of a thermal neutron
  232Th: naturally-occurring
    only thorium isotope
  238U: naturally-occurring
    99.3 % of natural U

## Slide 25: Nuclear Physics Fission Reactions
two primary fission reactions occurring in a light water reactor are:

## Slide 26: Nuclear Physics Chain Reaction

## Slide 27: Reactor Design Thermal Electricity Generation

## Slide 28: Reactor Design Component Systems
all reactors are characterized by fairly standard group of systems or components:
  moderator: slows fast neutrons to slow (thermal) neutrons (more efficient at fissioning 235U)
  coolant: liquid/gas circulated through reactor core to remove the heat
  control rods: neutron-absorbing cylinders to control chain reaction
  pressure vessels/tubes: steel vessel encapsulating reactor core, coolant or moderator
  steam generator: heat exchanger where the coolant heats water to steam and drives turbine
  contaminant system: reactor core housing to contain radioactive material in event of accident
  fuel: pellets of enriched or natural uranium or uranium /plutonium mix

## Slide 29: Reactor Design Reactor Timeline

## Slide 30: Reactor Design Commercial GEN II Reactors
pressurized water reactor
boiling water reactor

## Slide 31: Reactor Design Commercial GEN II Reactors
RBMK reactor
CANDU reactor

## Slide 32: Nuclear Fuel Cycles: U-Pu Types
Once Through
Reprocessing

## Slide 33: Nuclear Fuel Cycles: U-Pu Enrichment
because fissile 235U is only 0.7 % of natural U, for many reactor designs must be enriched
  low-enriched uranium: < 20% 235U
    reactor grade: 3-4 %
  highly-enriched uranium: >20 % 235U
    weapons grade: >90 %
enrichment methods
  gaseous diffusion
  high-speed centrifuges
  dynamic separation
  laser enrichment

## Slide 34: Nuclear Fuel Cycles: U-Pu Fuel Fabrication
enriched uranium converted to UO2
  fabricated into fuel pellets, which must:
    conduct heat
    contain fission products
  pellets assembled into fuel rods and rods combined to make fuel assemblies
  exact configuration depends on reactor
all of these elements can be handled safely without shielding

## Slide 35: Nuclear Fuel Cycles: U-Pu Irradiation
fuel assemblies put in reactor for irradiation
  light-water reactors:
    shut down for refueling
    1/3-1/2 of assemblies replaced
    fuel stays in reactor on average 54 months
  heavy water reactors:
    refueled during operation
    fuel assemblies removed when burned up
    assemblies are removed and charged independently

## Slide 36: Nuclear Fuel Cycles: U-Pu Irradiation
now contains:
    fission products
    transuranics (Z > 92)
    unfissioned 235U
    238U (lots)
    new uranium isotopes: 233U
  when come out of reactor, pellets are:
    highly radioactive
    very hot

## Slide 37: Nuclear Fuel Cycles: U-Pu Storage
Once Through

## Slide 38: Nuclear Fuel Cycles: U-Pu Reprocessing
Reprocessing
UK reprocessing facility

## Slide 39: Issues and Concerns Introduction
waste disposal
accidents
proliferation
terrorism
radiation
decommissioning

## Slide 40: Issues and Concerns Waste Disposal
several important characteristics about nuclear waste that distinguish it from other types of industrial waste
  radioactivity of radioactive waste decays with time until transmuted to non-radioactive elements
    other types of waste remain hazardous indefinitely
  radioactivity is a function of half-life
    short half-life: more radioactive the material, but faster decay
      gamma rays - difficult to handle because more penetrating
    long half-life: elements decay by
      alpha and beta decay - easier to handle because less penetrating
  volume of radioactive waste is small
    OECD, there are 300x106 tonnes of toxic waste produced
    81,000 m3 of radioactive waste (<1% of a nation's industrial waste)
  major objective is to protect biosphere from radiation
    primary mechanisms are isolation and dilution

## Slide 41: Issues and Concerns Accidents
major consequence of nuclear reactor accident include potential release of:
  radioactive material
  radiation
lots of potential sources of failure
  most serious is loss of coolant accident (LOCA)
  can lead to meltdown

## Slide 42: Nuclear’s Future GIF
Generation IV International Forum (GIF)
13 nations
collaboratively development of next generation of reactors and power and safety systems

## Slide 43: Nuclear’s Future GIF: Reactor Missions
three primary missions envisioned for Gen IV reactors:
  electricity production: produce electricity by converting thermal energy from fission to kinetic energy to rotational to electrical energy
  nonelectricity missions:
    produce freshwater through desalination
    hydrogen production for energy
    process heat for a range of energy intensive industries
  actinide management:
    extend uranium supplies
    reduce amount of nuclear waste

## Slide 44: Nuclear’s Future GIF: Future Reactor Designs
systematic review produced six, innovative reactor designs for future development
these are:
  gas-cooled fast reactor (GFR)
  lead-cooled fast reactor (LFR)
  molten salt reactor (MSR)
  sodium-cooled fast reactor (SFR)
  supercritical-water-cooled reactor (SCWR)
  very-high-temperature reactor (VHTR).
intended to be deployable in 20-30 years
different nations focused on different designs

## Slide 45: Nuclear’s Future GIF: U.S. Focus
very-high-temperature reactor (VHTR)
missions:
  electricity generation
  hydrogen production
also viewed as path to reduced carbon emissions

## Slide 46: Summary
nuclear power supplies 19. 4 % of U.S. electricity
  even higher for other nations
expanding outside U.S. particularly in Asia
only significant major primary energy source with low carbon emissions
form of thermal generation of electricity
  reactor is only different component
current reactor technologies well-established and robust
future trends:
  evolving public attitudes
  increased building and licensing GEN III/III+ reactors
  new fuel cycles being investigated, e.g. Th fuel cycle
  new radical reactor designs being explored, e.g. traveling wave, pebble bed, GEN IV