## Slide 1
ORIENTATION

## Slide 2
START WITH SCALE

## Slide 3
2009

## Slide 4
WHAT YOU CAN’T SEE

## Slide 6: WHY BUTTE?
23 BILLION LBS COPPER
4 BILLION LBS MANGANESE
5 BILLION LBS ZINC
1 BILLION LBS LEAD
300 MILLION LBS MOLY
700 MILLION OZS SILVER
3 MILLION OZS GOLD

## Slide 7
WHAT ABOUT WASTES?
Underground Mining – They’re in Anaconda

## Slide 8
FROM THE BERKELEY PIT?

## Slide 10
They Fill Upper Silver Bow Creek Valley

## Slide 11: WHAT IS THE PROBLEM
40 BILLION GALLONS OF TOXIC WATER IN LAKE BERKELEY CONNECTED TO…..
…CONTAMINATED GROUNDWATER IN OVER 10,000 MILES OF FLOODED UNDERGROUND WORKINGS
2. CONTAMINATED GROUNDWATER IN THE ALLUVIAL AQUIFER – DISCHARGES TO SILVER BOW CREEK

## Slide 12: But Really – IT’S TOXIC

## Slide 13: WHAT IS THE FIX
CAPTURE CONTAMINATED GROUNDWATER
TREAT CONTAMINATED GROUNDWATER TO AQUATIC LIFE STANDARDS AND RELEASE TO SILVER BOW CREEK
MAINTAIN OVER GEOLOGIC TIME

## Slide 14
TO SILVER BOW CR
TWO GROUNDWATER SYSTEMS
TO MANAGE

## Slide 15
Berkeley Pit Acts Like A Large Well
Captures Groundwater From Underground Mine System
Includes Bedrock and Alluvial Groundwater
Notes: Basis of Remedy (ROD) is to protect Butte aquifer (and risks to human health from exposure to contaminated drinking water) and to prevent contaminated GW discharge to SBC (threat to aquatic life).
Groundwater flow is based differential head pressure (from higher pressure to lower) so GW flow doesn’t follow surface topography. But it probably did in pre-mining conditions.
CWL will be in highest point in east camp system (not in the pit itself).
Anselmo currently has highest water level and is ~25 feet higher than water in Berkeley Pit.

## Slide 17
The Other Side of the Ground Water Divide

## Slide 18
1954

## Slide 19
GROUNDWATER – STREAM INTERACTION
Loading Analysis

## Slide 20
Notes: SW and GW

## Slide 21
LOAD CALCULATION |  |  |  |  |  |  |  |  |  |  | 
LOCATION |  | FLOW FT3/sec | ZINC mg/L |  |  | ZN LOAD mg/sec |  |  |  |  | 
SBC @ MONTANA (IN) |  | 14.3 | 0.232 |  |  | 94 |  |  |  |  | 
MISSOULA IN |  | 0.3 | 1.055 |  |  | 9 |  |  |  |  | 
SEWAGE EFFLUENT |  | 9.1 | 0.097 |  |  | 25 |  |  |  |  | 
SBC @ I-90 (OUT) |  | 25.3 | 0.639 |  |  | 458 |  |  |  |  | 
GROUND WATER INFLOW |  | 1.6 | 7.3 |  |  | 330 |  |  |  |  | 
MASS BALANCE |  |  |  |  |  |  |  |  |  |  | 
GWin = SBCout - SEWAGEin - MSLAin - SBC@MTin |  |  |  |  |  |  |  |  |  |  | 
Zn Load from GW = 72% |  |  |  |  |  |  |  |  |  |  | 
Based on Mean Values
NOTE: Alternate Method – Synoptic

## Slide 23
What Are You Going To Do?

## Slide 36: BIGGEST REMAINING PROBLEM STORM WATER RUNOFF

## Slide 37: Dissolved Copper since 2000

## Slide 38: In Perpetuity is a long time