## Slide 1: Understanding this diagram means you graduate from geochemistry!
Notes: Problems – textbooks do not show error bars. Many AGU presentations of data don’t show data bars. Students cannot yet understand Methods sections of published peer-reviewed papers. How do they know if these are good or bad data.
Figure for Andes from Winter, 2001 after Pearce, 1983

## Slide 2: Using a Portable X-Ray Fluorescence spectroscope in Geochemistry
Do graduates know how to evaluate and determine good data or bad data?

## Slide 3: Motivations
Time invested in senior theses
Not every student participates in theses
Graduates bound for industry jobs and/or internships prior to graduate school
Pedagogical advantages of mini-research projects during regular course-work

## Slide 4
Notes: A possible solution? Warning- your students will no longer “get” the tricorder reference!

## Slide 5: Advantages of hand-held PXRF
Analysis time is seconds to minutes
Minimal sample prep
Detection limits, reproducibility, accuracy, analytical blanks
Anecdotal reports of increased use by industry – anyone can operate but emphasize need to develop and follow QC protocols

## Slide 6: My tricorder
Data down-loads to Excel directly
Notes: Processes 2500 counts per second

## Slide 7
Notes: Zr, Nb, Mo strongly fluoresce – graph from Innov-X literature

## Slide 8
Possible to trace minerals to their source
  Elemental composition, age, temperature of formation
Assume that sediment and floodwaters originated in the same region as the minerals
A case study
Idaho Batholith
53.5 to 55.5 mya
Cascades
55 mya to Recent
B.C. Rockies
65-75 mya
www.cropsoil.uga.edu
www.rockhounds.com

## Slide 9
Tamara Carley – senior thesis
http://www.innov-x-sys.com/products
3 PXRF readings at the coarse basal unit of each sample location
Collect sediment for lab analysis
Notes: Manufacturer will give quoted precision.
Student tested field vs lab precision as part of senior thesis
Tamara now at Vanderbuilt working on PhD – has NSF graduate fellowship!

## Slide 10: Lab test stand

## Slide 11
PXRF Development Findings

## Slide 12
Comparing elemental abundance (ppm) with stratigraphic position
Conclusion – we can use pXRF to target sampling campaign
Notes: Dark Green diamonds – pre-Late Wisconsinin rhythmites
Blue diamonds – Wisconsinin rhythmites (Pleistocene Missoula floods)
Precision – 2 std deviation
Range of CRB compositions given by bar at base
Red lines – samples targeted for mineral separation

## Slide 13: SAFETY
Whitman College – Geology Department
Safety summary and training acknowledgement – PXRF
This safety training was completed _________________(day/month/year) by student ___________________________________ under the guidance of faculty member _______________________________________.
I understand that this instrument creates ionizing radiation in the form of X-rays that can damage human tissue. ___________ (initials)
I understand that the pXRF produces X-ray whose energies are 10-60 keV meaning that bone will absorb X-rays 3 to 5 times more effectively than soft tissue. ________
I understand that the highest output of radiation is approximately 27,000 mrem/hour or 10,500 counts per second at the analysis window. ______________
Notes: This is an example of a training document that every student user signs to indicate they’ve completed training.

## Slide 14: SAFETY II
I understand that increasing the distance between the window and the any living tissue decreases the radiation dose and that I should never point the pXRF at myself or another person or allow someone to stand directly within two feet of the analysis window during operation.
At the above radiation dose, I understand that it would take continuous direct exposure for two hours, or a cumulative direct exposure for two hours to exceed the maximum radiation dose allowed per year by OSHA. ______________
I understand that at the trigger, when using the instrument properly in the field, my hand and body receive less than 0.05 mrem/hr of radiation.
___________________________ ______________________________
(signature of student researcher) (signature of faculty trainer)
____________________ _________________
(date signed) (date signed)

## Slide 15: Instrument cost is significant. Solution? NAGT website
Notes: John McNett invented tricorder for TV. Sold out on ebay for ~$99. Real thing is ~$30k.

## Slide 16: Case study – basalt weathering and paleosol development in the Columbia River Basalts

## Slide 17: For discussion
Does your class already provide opportunities to measure and evaluate data?
How much time devoted to topic?
Mini-project or lecture?
What works best for you?