{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["sum"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":34,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"sum","index":0,"n_rows":61,"n_cols":15,"rows_kept":61,"cut":false,"hidden":false,"merged":[[3,10,3,14],[0,0,0,14],[1,0,1,14],[3,0,3,4],[3,5,3,9]],"flags":["formulas_cached_only"]}
["U.S. Geological Survey Water-Level Measurements"]
["(compiled by Maura Metheny)"]
[]
["December 4, 1985 Data",{"$nulls":4},"January 3, 1986 Data",{"$nulls":4},"Drawdown Data"]
["Well","Well No.","X-coord","Y-coord","1985-12-01","Well","Well No.","X-coord","Y-coord","1986-01-01","Well","Well No.","X-coord","Y-coord","Drawdown"]
["s40","G",3135.71185631002,2857.34356950595,43.9,"s40","G",3135.71185631002,2857.34356950595,21.5,"s40","G",3135.71185631002,2857.34356950595,22.4]
["s39","H",2995.71185631002,3465.34356950595,43.7,"s39","H",2995.71185631002,3465.34356950595,27.4,"s39","H",2995.71185631002,3465.34356950595,16.4]
["s5","s5",2390.71185631002,5755.34356950595,46.4,"s11","s11",3915.71185631002,1430.34356950595,41.8,"s63","s63s",3675.71185631002,4445.34356950595,-0.1]
["s6","s6 ",3285.71185631002,5085.34356950595,54.9,"s63","s63s",3675.71185631002,4445.34356950595,58,"s70","s70s",3435.71185631002,5115.34356950595,-0.1]
["s11","s11",3915.71185631002,1430.34356950595,42.4,"s67","s67s",4565.71185631002,4260.34356950595,69.3,"s71","s71s",3745.71185631002,5010.34356950595,0.4]
["s63","s63s",3675.71185631002,4445.34356950595,57.9,"s72","s72s",2695.71185631002,3990.34356950595,43.6,"s72","s72s",2695.71185631002,3990.34356950595,1.4]
["s67","s67s",4565.71185631002,4260.34356950595,69.1,"s74","s74m",2080.71185631002,5115.34356950595,46.1,"s76","s76s",2025.71185631002,3920.34356950595,1.3]
["s70","s70s",3435.71185631002,5115.34356950595,56.8,"s76","s76s",2025.71185631002,3920.34356950595,46.1,"s77","s77s",3080.71185631002,2185.34356950595,0.5]
["s71","s71s",3745.71185631002,5010.34356950595,61.4,"s77","s77s",3080.71185631002,2185.34356950595,42.1,"s78","s78s",2430.71185631002,2630.34356950595,2.1]
["s72","s72s",2695.71185631002,3990.34356950595,45,"s78","s78s",2430.71185631002,2630.34356950595,41.2,"s79","s79s",2225.71185631002,3060.34356950595,2.1]
["s73","s73s",2645.71185631002,5210.34356950595,48.2,"s79","s79s",2225.71185631002,3060.34356950595,41.9,"s81","s81s",3250.71185631002,4655.34356950595,0]
["s74","s74m",2080.71185631002,5115.34356950595,46.7,"s80","s80s",2265.71185631002,2640.34356950595,42,"s84","s84s",3370.71185631002,3130.34356950595,5.6]
["s76","s76s",2025.71185631002,3920.34356950595,47.3,"s81","s81s",3250.71185631002,4655.34356950595,52,"s85","s85s",3005.71185631002,3780.34356950595,2.6]
["s77","s77s",3080.71185631002,2185.34356950595,42.6,"s84","s84s",3370.71185631002,3130.34356950595,38.5,"s86","s86s",3410.71185631002,2545.34356950595,4.4]
["s78","s78s",2430.71185631002,2630.34356950595,43.3,"s85","s85s",3005.71185631002,3780.34356950595,41.7,"s87","s87s",2995.71185631002,3630.34356950595,4.9]
["s79","s79s",2225.71185631002,3060.34356950595,44,"s86","s86s",3410.71185631002,2545.34356950595,39.3,"s88","s88s",2640.71185631002,3395.34356950595,2.8]
["s81","s81s",3250.71185631002,4655.34356950595,52,"s87","s87s",2995.71185631002,3630.34356950595,40,"s89","s89s",2895.71185631002,3450.34356950595,4.3]
["s84","s84s",3370.71185631002,3130.34356950595,44.1,"s89","s89s",2895.71185631002,3450.34356950595,39.8,"s90","s90s",3140.71185631002,3470.34356950595,5.9]
["s85","s85s",3005.71185631002,3780.34356950595,44.2,"s90","s90s",3140.71185631002,3470.34356950595,38.6,"s91","s91s",3045.71185631002,3145.34356950595,5.3]
["s86","s86s",3410.71185631002,2545.34356950595,43.6,"s91","s91s",3045.71185631002,3145.34356950595,40,"s92","s92s",2710.71185631002,2720.34356950595,1.1]
["s87","s87s",2995.71185631002,3630.34356950595,44.9,"s92","s92s",2710.71185631002,2720.34356950595,42.2,"s93","s93s",2960.71185631002,2810.34356950595,3.4]
["s88","s88s",2640.71185631002,3395.34356950595,44.2,"s93","s93s",2960.71185631002,2810.34356950595,40.1,"s94","s94s",3255.71185631002,2925.34356950595,5.4]
["s89","s89s",2895.71185631002,3450.34356950595,44,"s94","s94s",3255.71185631002,2925.34356950595,38.3,"s95","s95s",2735.71185631002,2370.34356950595,1.5]
["s90","s90s",3140.71185631002,3470.34356950595,44.5,"s95","s95s",2735.71185631002,2370.34356950595,41.8,"s96","s96s",3090.71185631002,2465.34356950595,2.2]
["s91","s91s",3045.71185631002,3145.34356950595,44,"s96","s96s",3090.71185631002,2465.34356950595,40.9,"s97","s97s",3250.71185631002,3715.34356950595,4.1]
["s92","s92s",2710.71185631002,2720.34356950595,43.3,"s97","s97s",3250.71185631002,3715.34356950595,41.1,"gw1","g1s",4470.71185631002,5245.34356950595,1]
["s93","s93s",2960.71185631002,2810.34356950595,43.5,"bsw1","bsw1s",2440.71185631002,2620.34356950595,42.1,"gw01","g01s",3975.71185631002,4505.34356950595,0.1]
["s94","s94s",3255.71185631002,2925.34356950595,43.7,"bw2","bw2",2680.71185631002,1975.34356950595,41.5,"gw2","g2s",5085.71185631002,5291.34356950595,0.6]
["s95","s95s",2735.71185631002,2370.34356950595,43.2,"w8","ow8",2635.71185631002,2135.34356950595,40.7,"gw3","g3s",4460.71185631002,4815.34356950595,0.3]
["s96","s96s",3090.71185631002,2465.34356950595,43.1,"w9","ow9",2455.71185631002,2140.34356950595,40.3,"gw4","g4s",4820.71185631002,4840.34356950595,1.9]
["s97","s97s",3250.71185631002,3715.34356950595,45.2,"w10","ow10",2525.71185631002,2415.34356950595,41.1,"gw5","g5s",5165.71185631002,4870.34356950595,0.5]
["bsw1","bsw1s",2440.71185631002,2620.34356950595,44.5,"w12","sw12",2395.71185631002,2790.34356950595,41.7,"gw10","g10s",4930.71185631002,5023.34356950595,1.9]
["bw4","bw4",2390.71185631002,1770.34356950595,41.8,"w13","ow13",2470.71185631002,2495.34356950595,41.4,"gw11","g11s",4645.71185631002,4745.34356950595,0]
["w8","ow8s",2635.71185631002,2135.34356950595,42.9,"w14","ow14",2575.71185631002,2570.34356950595,41.3,"gw12","g12s",4435.71185631002,4955.34356950595,0.6]
["w9","ow9s",2455.71185631002,2140.34356950595,42.6,"gw01","g01s",3975.71185631002,4505.34356950595,59.3,"gw14","g14s",4748.71185631002,4935.34356950595,0.6]
["w10","ow10s",2525.71185631002,2415.34356950595,43.5,"gw1","gw1s",4470.71185631002,5245.34356950595,91.5,"gw21","g21s",4425.71185631002,5040.34356950595,0.2]
["w12","sw12s",2395.71185631002,2790.34356950595,43.7,"gw2","g2s",5085.71185631002,5291.34356950595,90.6]
["w13","ow13s",2470.71185631002,2495.34356950595,43.6,"gw3","g3s",4460.71185631002,4815.34356950595,71.6]
["w14","ow14s",2575.71185631002,2570.34356950595,43.6,"gw4","g4s",4820.71185631002,4840.34356950595,83.4]
["gw01","g01s",3975.71185631002,4505.34356950595,59.3,"gw5","g5s",5165.71185631002,4870.34356950595,86.2]
["gw2","g2s",5085.71185631002,5291.34356950595,91.2,"gw10","g10s",4930.71185631002,5023.34356950595,89.8]
["gw3","g3s",4460.71185631002,4815.34356950595,71.3,"gw11","g11s",4645.71185631002,4745.34356950595,75.6]
["gw4","g4s",4820.71185631002,4840.34356950595,85.2,"gw12","g12s",4435.71185631002,4955.34356950595,75.2]
["gw5","g5s",5165.71185631002,4870.34356950595,86.7,"gw14","g14s",4748.71185631002,4935.34356950595,81.9]
["gw9","g9s",5220.71185631002,5035.34356950595,90.7,"gw21","g21s",4425.71185631002,5040.34356950595,75.6]
["gw10","g10s",4930.71185631002,5023.34356950595,91.6]
["gw11","g11s",4645.71185631002,4745.34356950595,75.6]
["gw12","g12s",4435.71185631002,4955.34356950595,74.6]
["gw13","gw13s",4695.71185631002,4925.34356950595,78.6]
["gw14","g14s",4748.71185631002,4935.34356950595,82.6]
["gw21","g21s",4425.71185631002,5040.34356950595,75.3]
["gw22","g22s",4478.71185631002,4910.34356950595,74.4]
["gw24","g24s",4880.71185631002,4815.34356950595,86.2]
["gw26","g26s",4970.71185631002,5100.34356950595,92.1]
["gw27","g27s",4910.71185631002,5095.34356950595,95.2]
["gw28","g28s",4585.71185631002,4905.34356950595,72.6]